Garden City Park Water District

PWS ID No. NY2902825

Quarterly Deferral Update

**Update on Wellhead Treatment Progress, Potential Issues and Water Quality Update**

**Report Date: September, 2022 Facility: Plant 11 Prepared by: Michael Levy, Superintendent**

|  |  |  |  |
| --- | --- | --- | --- |
| **Milestone** | **Date** | **On Schedule (Y/N)****Or Completed** | **Notes and Comments** |
| Complete treatment piloting | N/A |  |  |
| Completed engineering report/submit for regulatory review | N/A |  |  |
| Complete project design/submit for regulatory review | 10/27/202010/28/2020 | Complete | Laboratory sampling following carbon replacement to confirm PFOA removal |
| Commence projectConstruction/Implementation | 11/13/2020 | Complete | NCHD Approval to Operate |
| 50% project completion |  | Completed |  |
| Other |  |  | Existing GAC approved by NCHD for PFOA removal |

|  |
| --- |
| **Potential issues / concerns /delays:** Well #11 is located on Links Drive in North Hills. Existing GAC filters installed for VOC removal have been approved for PFOA removal. Required sampling for PFOA will assure the filter bed is replaced when no longer removing efficiently.  |
| **Water Quality Update –** See attached summary |